## Guía
Guía de utilización
1 | Solo se ingresan datos en la hoja de procesamiento
2 | Los datos a ingresar deben ser tiempo y laeq current
los mismos se obtienen de la planilla descargada del equipo
3 | Cada medida de 30 minutos representa 1800 datos, hay un dato cada segundo
4 | Si interesa graficar el límite normativo o de referencia, se debe completar la columna límite con el valor en todos los campos
5 | Las celdas en amarillo son las que se deben completar

## Procesamiento
Fecha | Hora inicio | Hora final | Punto | Las medidas de 30 minutos representan 1800 datos (se graba un dato por segundo)
2022-12-14 | 0:00 | 0:00 | EC01 |  |  |  | Cálculo de LAeq 30 min
[7 empty] | Tiempo (min) | 30
Tiempo | LAEQ_current | below_limit | Potencia Lacurrent | Suma de potencias cada 1 minuto | LAeq_1min | Potencia LAeq_ 1min | Suma potencias |  | Celda | Laeq 1 m | Min | Límite | Potencia | Min | LAeq,acum,1 m | LAEQ30min-LAEQacu1min | Estabilización | Max | Min
|  | Y | 1 | 60 | 0 | 1 | 30 | 0 | 5 | 0 | 1 |  | 1 | 1 | 0 | 0 | Sí | 0 | 0
|  | Y | 1 | [5 empty] | 65 | 0 | 2 |  | 1 | 2 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 125 | 0 | 3 |  | 1 | 3 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 185 | 0 | 4 |  | 1 | 4 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 245 | 0 | 5 |  | 1 | 5 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 305 | 0 | 6 |  | 1 | 6 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 365 | 0 | 7 |  | 1 | 7 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 425 | 0 | 8 |  | 1 | 8 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 485 | 0 | 9 |  | 1 | 9 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 545 | 0 | 10 |  | 1 | 10 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 605 | 0 | 11 |  | 1 | 11 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 665 | 0 | 12 |  | 1 | 12 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 725 | 0 | 13 |  | 1 | 13 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 785 | 0 | 14 |  | 1 | 14 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 845 | 0 | 15 |  | 1 | 15 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 905 | 0 | 16 |  | 1 | 16 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 965 | 0 | 17 |  | 1 | 17 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1025 | 0 | 18 |  | 1 | 18 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1085 | 0 | 19 |  | 1 | 19 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1145 | 0 | 20 |  | 1 | 20 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1205 | 0 | 21 |  | 1 | 21 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1265 | 0 | 22 |  | 1 | 22 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1325 | 0 | 23 |  | 1 | 23 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1385 | 0 | 24 |  | 1 | 24 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1445 | 0 | 25 |  | 1 | 25 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1505 | 0 | 26 |  | 1 | 26 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1565 | 0 | 27 |  | 1 | 27 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1625 | 0 | 28 |  | 1 | 28 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1685 | 0 | 29 |  | 1 | 29 | 0 | 0 | Sí
|  | Y | 1 | [5 empty] | 1745 | 0 | 30 |  | 1 | 30 | 0 | 0 | Sí
|  | Y | 1
|  | Y | 1 |  |  |  |  | Ojo: verificar que las gráficas tengan las cantidades de datos necesarias. Es decir, para mediciones de 15 min o de 30 min.
|  | Y | 1 |  |  |  |  | Gráfica para análisis en el informe
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 |  |  |  |  | Gráfica para fichas de campo que va en anexos en los informes
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1 | 60 | 0 | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
|  | Y | 1
Note on I3: Verificar si corresponde ese tiempo
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Se copia de la planilla de datos
Note on B4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Se copia de la planilla de datos, revisar que el separador de decimales sea punto, sino la formula siguiente arrojara error.
Note on M4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Ingresar el límite más restrictivo según aplique

## Percentiles
|  | L10 | L20 | L30 | L40 | L50 | L60 | L70 | L80 | L90
Nombre de punto | EC01 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | Celdas automaticas, no modificar.
Note on C3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Celdas automaticas, no hay que ingresar ningún dato